## Slide 1: The Role of Raman Spectroscopic Analysis for Endometriosis Diagnosis
Bahar Yuksel Ozgor,MD
Esenler Maternity and Children’s Hospital,Istanbul,
Turkey

## Slide 2: Living in the past..
Do you really think can an invasive method be the only treatment option of a disease.. let alone the diagnostic way…
We are living Middle Ages’ on the treatment and diagnosis of endometriosis…

## Slide 3: About endometriosis..
a chronic disease with unknown molecular basis
Controversial and mind blowing diagnostic methods
The diagnosis is still invasive….
All of us trying to find a way out..

## Slide 4: Medicine always finds a way out when it reckons there are other sciences...
Raman spectroscopy …
Cofounded by Sir Raman in early 20th cent.
a vibrational spectroscopy technique which can analyze specific spectral patterns, substances and molecular changes with high specificity..

## Slide 5
Notes: Raman spectroscopy is a spectroscopic technique used to observe vibrational (rotational, and other low-frequency) modes in a system.
Raman s
Spektroscopy isik spektrumu demek
pectroscopy is commonly used to provide a structural fingerprint by which molecules can be identified.

## Slide 6: Method..
We aimed to use Raman spectroscopy to detect differences between healthy controls and patients with surgically proven endometriosis.
32 patients and 17 heathy controls were enrolled into the study
Blood samples taken from participants were placed into a gel tube and centrifuged during 10 minutes with 1500g.
Serum samples were transported to the laboratory in a blood transportation box and were measured
A four step procedure including calibration, water background correction, fluorescence background correction and normalization was performed. According to the peaks in the “difference spectrum”, a literature search is done to understand which macromolecules or band vibrations are associated with these peaks.
The statistical analysis of the preprocessed measurements was done by Principal Component Analysis.
To consrtuct a classification model, Machine Learning technique is used

## Slide 7
Notes: 785 nm diode lazerden çıkan ışın back reflection ı engellemek için önce Faraday Isolator (FI) den geçiyor. (Back reflection ile geri yansıyan ışın tekrar lazerin içine girip lazeri yakabilir çünkü)Daha sonra, dalga boyunun 785 ve civarında (780-790)kullanılabilmesi için Line Filter (LF) kullanılıyor. Özetle,LF, lazerden gelen 780-790 arasında olmayan dalga boylarını eliyor.
M1, M2, M3 mirrorlar, bunları sadece ışığı yansıtıp yön vermek için kullanıyoruz.
REF1, 785 nm den küçük dalga boylarını geçirmiyor, 785 nm den büyük dalga boylarını geçiriyor.
Kırmızı çizgiyle gösterilen lazer, REF1 den yansıyıp lensten geçerek seruma lens ile odaklanarak gönderiliyor.
Raman sinyalini turuncu ile gösterdim. Raman sinyali (Turuncu) 785 nm den büyük olduğu için REF1 ve REF2 den geçip
monochromator e bir lens ile odaklanarak geliyor. Monochromator de Raman sinyalini bir çıktı olarak bize veriyor.
2 tane REF kullanmamızın nedeni Raman sinyali dışındaki tüm sinyalleri elemek istememiz.
Seruma giren ok bizim gönderdiğimiz lazer, çıkan ok(turuncu) Raman sinyali.

## Slide 9
Notes: 800-1400 arasi kabaca lipitler …1200188ler protein kabaca ama aralarda aa ler katkida bulunuyor..bu grafik 2 grubun ortalamalarinin yani mavi grafiklerinin karsilastirilmasi…amid1 bandi 1650..amid3 bandi 1266 protein corunu gosteriyor.…

## Slide 10: ClassIfIcatIon by MachIne LearnIng
Accuracy of the classificatio model : 92%
WHAT IS MACHINE LEARNING?
Machine Learning at its most basic is the practice of using algorithms to UPLOAD data, LEARN FROM IT, and then make a determination or PREDICTION about something
Notes: After PCA analysis, the data is given to Machine learnig application to construct a classification model.
In the above graph the misclassified data points are seen with x. As we see the model constructed by machine learning can classify patients and control samples
With high accuracy
Knn..k nearest neighbours yontemi uygulayinca x ile isaretli olanlar misclassify olanlar ..yani 2 ser tane olanlar
###machine learning nedir ekle linkten..

## Slide 11: Machine Learning Outputs
Specificity 88%
Sensitivity 97%
Accuracy 92 %
Roc curve showing spes. And sensitivity..auc area is almost 1..that is why the curve looks like a stick..
Spes…88%
Sens…97%
Confusuion matrix… showing false positive and negative results..our misclassified results were 4 in 33 and 2 in 65
Confusıon matrıx
ROC Curve
Notes: Confusion matrix describes the performance of a classification model on a set of test data for which the true values are known
The area under the ROC curve (AUC) is a measure of how well a parameter can distinguish between two diagnostic groups (diseased/normal).
Machine learning sonuclari…Soldaki roc curve…systemin spes ve sens ini gosteriyor..sagdaki confusion matrix 2 ler misclassification…auc ne kdr yuksekse sens ve spes max da demek max 1 olabilio…spesifitemiz 94% …. sens 97%..misclassf orani dusuk old icin roc curve 1 e yakin cikti..

## Slide 12: Raman analysis is a noninvasive and promising way…
Understanding the pathogenesis of endometriosis and finding out differences between women with and without endometriosis will lead to diagnostic and therapeutic gains.
Raman analysis is a noninvasive and promising way serving on this idea.
Our next aim will be identifying the differences and the mechanisms causing molecular changes.

## Slide 13
Thank you very much for your patience..